Inyo temperature response

The upper trace shows the internal temperature of the Inyo FBV seismometer over a period of approximately one day.  10mV full scale represents a deviation of 1°C.

The lower trace is the DC coupled output of the seismometer shown in units of µm/s.  The output closely tracks the rate of temperature change.